## schedule of quantity
SCHEDULE OE QUANTITY
| Name of work:- Annual repair and maintenance of Water Testing Laboratory at Baggi in Tehsil Balh District Mandi (HP). (SH: - Running, Operation and Maintenance of water testing laboratory at Baggi for one year). |  |  | Estimated cost :-Rs. 478000/only
Earnest money :-Rs.9600/only
Time:- one year
Sr.No. | Description of item | Qty. |  | Rate |  | Unit | Amount
|  |  |  | In Figure | In words
1 | Operation, Running and maintenance of Sub Divisional water sample testing laboratory at Baggi for one year by providing skilled / unskilled operating staff and good quality materials such as chemicals, regents etc as required for testing of water sample for Physical, Chemical and Bacteriological tests complete process, in all respect i.e. uploading of test results on web site regularly as per the direction and satisfaction of Engineer-in-Charge
| (a) Physical & Chemical Test for all 17 Parameter (1000 samples per year) (i) Temperature (ii) Colour (iii) Odour (iv) Taste (v) Turbidity (vi) pH (vii) TDS/ Elect Conductivity (viii) Total Alkalinity (ix) Chloride (x) Fluoride (xi) Nitrate (xii) Sulphate (xiii) Iron (xiv) Total Hardness (xv) Free residual Chlorine.(xvi) Manganese (xvii) Total Arsenic Note:- 250 tests of Fluoride, Nitrate, Sulphate and Iron tests are to be done with Merck colorimeter:- Model No. Spectroquant Move 100 chemicals for which are also to be provided by the contractor/firm. | 1000 | Tests of sample |  |  | Per Test
| (b) Bacteriological Test (2000 samples per year):- (1) Total coliforms (2) E coli / Thermo tolerant Coliforms : Test if total Coliforms are present | 2000 | Tests of sample |  |  | Per Test
SPECIAL TERMS AND CONDITIONS
1 | In order to give true picture of water tests and considering the importance of drinking water quality, the Contractor / Firm is expected to do entire job very carefully.
2 | The Contractor /Firm bidding for the job should preferably have the previous experience of Operation and maintenance of the water testing laboratory.
3 | The Contractor /Firm shall have to employ qualified and well experienced Chemist / Assistant Chemist . The desirable qualification for laboratory staff shall be as per Uniform Drinking Water Quality Monitoring Protocol 2013 i.e. Assistant Chemist - Graduation in Science with Chemistry Lab. Assistant :- +2 science/Diploma in Laboratory and Data Entry Operator +2 with knowledge of Basic Computer Application and Internet.
4 | Before award of work, the Name, Qualification details, correspondence address, complete resume of the persons to be engaged along with self attested photocopies ( also originals to be returned ) of qualification documents certificates from recognized institute shall be submitted to the department.
5 | The person employed by the Firm shall be his establishment only and DWSM/ Department shall not be bound to regularize their services in any way.
6 | The candidate to be deployed should be free from any kind of communicable disease and before joining the candidate shall submit the Certificate of Medical fitness issued by the Authorized Medical Attendant / Medical Officer.
7 | The Contractor / Firm shall follow relevant BIS codes and specifications of NRDWP for the testing of water samples for Physical. Chemical and Bacteriological tests in all respect.
8 | The Contractor / Firm shall be responsible for payment of minimum wages & ensure regular monthly payments to the persons engaged by him.
9 | During working hours proper dress code shall be maintained in the laboratory. The lab staff shall attach badge / identity cards displaying the name & designation.
10 | The Contractor/ Firm shall be responsible for proper and careful handling of Lab equipments, reagents & chemicals etc.
11 | The Contractor / Firm shall be responsible for any accident/ losses caused due to negligence by the person engaged by him and a First Aid Box shall also be provided by the Contractor / Firm in the laboratory
12 | The necessary materials and chemicals required for the testing of samples shall be provided by the Contractor / Firm chemicals used for testing Nitrate, Fluroide, Iron ,Manganese and sulphate which are to be tested with Merck colorimeter.
13 | The Contractor / Firm shall be panelized for any breakage of glassware in the lab or he shall replace the same with new one and decision of the Engineer-in-Charge shall be final in this regard. Minor repair of the equipments shall be done by the contractor.
14 | The Chemicals to be used for water quality testing should be of Laboratory Reagent (LR) or Analytical Reagent (AR) grade. Contractor / Firm shall keep the inventory of all the used material and chemicals . The inventory shall be maintained in registers.
15 | The Contractor / Firm shall keep the proper record of all tested water sample and shall submit the consolidated report to the Assistant Engineer. In -charge of the laboratory monthly. The firm shall also bring to the notice of the Engineer-in-charge the details of failed samples daily.
16 | The Contractor / Firm shall report and suggest the measures to be taken for the disinfection of the water, as found anything unhygienic for human consumption.
17 | The inventory of all the glass ware shall be maintained by the Contractor / Firm.
18 | All sample collecting material including those which are to be returned and reused should be fit for sampling. Cleaning and sterilization of sample collecting material shall be as per standard procedure and shall be done by the contractor/firm.
19 | The Electricity charges will be borne by the department.
20 | The payment shall be made on Quarterly basis in equal installments.
21 | All the water sample reached in the lab have to be tested Minimum 3000 samples out of which minimum 2/3rd i.e. 2000 sample shall be for Bacteriological analysis &1000 samples for chemical analysis have to be tested in a year and monthly report alongwith photocopy of register shall be submitted through Assistant Engineer to Divisional office.
22 | If more than 3000 samples are tested in the lab the Contractor / Firm shall be paid extra for excess sample at the approved rate . A penalty of double the rate awarded shall be levied if samples are not tested inspite of its receipt in lab.
23 | Each source shall be tested minimum twice a year i.e. pre monsoon and post monsoon for bacteriological analysis and once a year for chemical analysis. If any, shortcoming is noticed in above mentioned schedule by the contractor / firm, it should be brought to the notice of concerned Assistant Engineer .
24 | The contractor / Firm shall be responsible for cleaning and proper upkeep of Laboratory during working hours.
25 | The contractor / firm shall keep the lab operational on all working days. If any person from lab staff goes on leave the alternate staff shall be provided in lab by the contractor / firm for the respective job. Even then if it remains non-operational, a penalty of Rs 500/- per person per day shall be levied .
26 | The period of contract will be for one year beginning after 15 days from the date of award.
27 | The firm shall hand over the laboratory including all equipments, glass wares, chemicals, reagents to the department after expiry of the contract in good condition.
28 | Disposal of all the waste generated in the lab and washing of glassware, breakage & discard materials will be done by the firm at their own cost at appropriate place marked in the area and as per the standard procedure for waste water disposal.
29 | Online entry of the samples tested on a particular day shall be made within next 48 hours on the format available on web site i.e. www.indiawater.gov.in after getting the test report signed from either consultant ( chemist ) or concerned Junior Engineer incharge or concerned Assistant Engineer, incharge of the laboratory.
30 | The contractor/firm shall procure all the chemicals monthly/quarterly basis and get this checked by entering it into chemical inventory register from the concerned Junior Engineer. The consumption of all the chemicals will be entered and monitored through this register. The register shall always be available for its checking.
30 | If less samples are received in the laboratory, only the cost of chemical used for that much samples will be deducted (physical, chemical tests @ 89/- per test and bacteriological @ 46/- test) from the each bill of the contractor.
Executive Engineer
I&PH Division Baggi